ABCD gain and offset matching

Single channel threshold scan                             Noise matching

NOISE = 14.6 mV rms

GAIN =  116 mV/fC

ENC = 780 el rms